## Slide 1: Biomedical Imaging
March 8, 2022
Undergraduate Seminar
Bjorg Larson
Physics Department
Notes: Assistant professor in Physics Dept
Previously at Memorial Sloan-Kettering Cancer Center
Currently building a lab with two students here at Drew!

## Slide 2: A short history of medical imaging
Roentgen’s first human x-ray image in 1895 was revolutionary to the practice of medicine.
100 years later: conventional tomography, computed tomography
Continuous push toward higher resolution, faster times, larger scan areas and lower dose.
Image contrast is from density differences

## Slide 3: MRI (NMR)
Magnetic Resonance Imaging (Nuclear Magnetic Resonance)
Strong magnetic field around patient, then radiofrequency pulses to excite protons. The relaxation of protons produces a signal
MRI can be combined with other techniques
Soft tissue imaging

## Slide 4: Ultrasound
High-frequency sound waves: we’re imaging the echo!
No ionizing radiation
Nuclear Imaging
Radioactive tracers

## Slide 5: Interventional Imaging
Optical imaging (visible light)
Send a camera inside the body!

## Slide 6: Confocal microscopy for cancer

## Slide 7
Skin cancers – per year, in the USA alone
1.2 million new cases
5.5 million biopsies
80% ~ 4.3 million biopsies are normal or benign
cost ~ $2.2 billion/year, to detect “normal”
Can we detect cancer without a biopsy?
National Cancer Inst., American Cancer Society, 2008 statistics
www.cancer.gov/statistics; http://seer.cancer.gov/statfacts; www.cancer.org
800,000 basal cell carcinomas (BCCs)
300,000 squamous cell carcinomas (SCCs)
100,000 melanomas
BCCs: 2 million biopsies, 40% positive
SCCs: 2 million biopsies, 15% positive
Melanomas:1.5 million biopsies, 7% positive

## Slide 8: Motivation:
Traditional diagnosis technique:
  Biopsy
  Fixation of tissue
  Slicing of tissue
  Staining of tissue
  View with 2x-40x magnification optical microscope

## Slide 9: Motivation:
Traditional diagnosis technique:
  Biopsy  Painful!
  Fixation of tissue  Hours to Days
  Slicing of tissue  15 – 20 um
  Staining of tissue  H&E (hemotoxylin & eosin)
  View with 2x-40x magnification optical microscope:

## Slide 10
Conventional microscope
image of human skin in vivo
No optical sectioning  Biopsy, physical sectioning
No rejection of out-of-focus light
Pathology

## Slide 11: Proposed improvement to existing standard:
Optical microscopy on unprocessed tissue
  In vivo
    Image directly on the patient
      In the clinic -or- in the operating room
  Ex vivo
    Image directly on freshly excised tissue
      On biopsies -or- at the bedside

## Slide 12
“POINT” SOURCE
OF LIGHT
DETECTOR
TISSUE
Out-of-focus light is rejected
“POINT” DETECTION
APERTURE (PINHOLE)
PIXEL on detector
OBJECTIVE LENS
illuminated VOXEL in tissue
Confocal microscope

## Slide 13
Confocal imaging in skin
En face
confocal images
En face optical section
SKIN
SCANNER
Notes: 13

## Slide 14
Resolution
And
Optical Sectioning
Other considerations:
-Long wavelengths scatter less in tissue, therefore allow deeper imaging
-Small pinhole leads to speckle noise, but larger pinhole reduces both lateral resolution and axial sectioning
NA = nsinθ
Depend on wavelength or COLOR of the light used
Depend on how sharply the objective lens focuses.

## Slide 15
Light back-scattering produces
endogenous reflectance contrast
Nuclei appear dark
weak backscatter from chromatin
Cellular cytoplasm
appears bright
strong backscatter from organelles
Rajadhyaksha et al., J. Invest Dermatol, 1995
Rajadhyaksha et al., J. Invest Dermatol, 1999
Rajadhyaksha et al., J. Biomed Optics, 2004

## Slide 16
Structure of Epidermis
http://kreativestudios.com/Tooltip/05Integument/02epidermis.html

## Slide 17
CONFOCAL IMAGES
En face sections
Parallel to skin surface
Basal cells at DE-junction
< 1 um lateral resolution
3-5 um axial sectioning
Reflectance or fluorescence contrast:
Acetic or citric acid whitening of nuclei
Acridine orange, methylene blue…
In vivo or ex vivo imaging

## Slide 18
SENSITIVITY SPECIFICITY
CONFOCAL: 85-92% 84-69%
DERMOSCOPY: 62-91% 39-31%
20 Pathologists: 87% (55-100%) 94% (83-100%)
Dermatopathologists: 90.4% 86.5%
351 DERMOSCOPIC EQUIVOCAL lesions
Diagnosing melanoma in vivo
Guitera, Pellacani and Menzies, J Invest Dermatol., 2007, 2009, 2010
www.lucid-tech.com

## Slide 19
elongated nuclei, monomorphic nuclei
polarized (highly oriented) nuclei
pleomorphic, basaloid epidermis
increased vascularity, inflammatory infiltrates in dermis
Diagnosing basal cell carcinoma in vivo
Sensitivity - 92%, specificity - 97%
Nori & Gonzalez, J. Amer. Acad. Dermatol., 2004; Gonzalez & Tannous, J. Amer. Acad. Dermatol., 2002

## Slide 20: This is great for skin…
But confocal microscopy only images 200 microns deep!
What about other cancers?
What if we could quickly image freshly excised tissues?
  Guide surgery: margin detection at the bedside!
  We can use dyes: better imaging contrast!

## Slide 21: Imaging of Excised Tissue
Breast lumpectomy surgery
  Tumor is removed based on radiology and visual inspection
  Patient is sent home
    Frozen pathology not routinely performed due to fattiness of breast tissue
  Positive margins on excised tissue results in second surgery (re-excision rates can be as high as 60% at some institutions)

## Slide 22: Imaging of Excised Tissue
Confocal microscopy has a small field of view (0.5 mm x 0.5 mm)
How can we image large pieces of tissue with high resolution?
 Mosaicking (tiling of images)

## Slide 23: Mosaicking Strategies
Traditional mosaicking method :
Two Dimensional Mosaicking - individual square images merged
(Gareau D et.al, J. Microscopy 233: 149-159, 2009)
10 minutes to scan 10 x 10 mm2
New mosaicking method:
New Strip Mosaicking – image strips are merged in one dimension
- reduced acquisition time
- 50% reduction in merging time
- 50% of illumination artifacts due to falloff
Proof of Principle:
Abeytunge et.al, JBO Letters, 050504,
May 2011, Vol 16(5)

## Slide 24
common constant velocity
0
12
14
2
stage position
mm
Velocity mm/sec
stop acquisition
image strip
start acquisition
start acquisition
stop acquisition
10,000 lines
10 mm specimen
image strip
Mechanical Scan
optical Scan
HSYNC
Synchronization

## Slide 25
Previously: Bench-top development of Large Area Confocal Scanner
PREVIOUSLY: Grant R01EB002715 from
NIBIB’s Image Guided Interventions Program
Patel et al., J. Biomed Optics 2007
Gareau et al., J. Biomed Optics 2008, 2009; J. Microsc 2009
Abeytunge et.al, JBO Letters, 050504, May 2011, Vol 16(5)
Objective
Lens
Tissue
Fixturing &
Mounting

## Slide 26
Tissue Fixture
placement
motor driven stage -mechanical scan
polygon – optical scan
water bladder
cover
Tissue Fixture on the stage
Mobile Large Area Confocal Scanner
In pathology
confocal microscope
water bladder
excised tissue
water bladder
excised tissue
confocal microscope
water bladder
excised tissue
water bladder
excised tissue
View from the bottom of the Tissue Fixture
pressed tissue
glass window
water bladder
Tissue Fixture on the stage
water bladder

## Slide 27
53 strips
fluorescence mosaic
excised breast tissue
stained in 0.6 mM of acridine orange for 60 sec
21mm
16 mm
fibrous tissue
(stroma)
breast lobules
fat cells
ducts
ducts
Breast Fibroadenoma in lobule
Notes: 27

## Slide 28: Breast Fibroadenoma – ducts (black and yellow arrows) are compressed due to excess fibrous tissue surrounding them (stroma)
Histopathology
4x view
A breast lobule
Mosaic
Notes: 28

## Slide 29: Ductal Carcinoma In-Situ (DCIS)
A
B
stained in 0.6 mM of acridine orange for 60 sec
fluorescence mosaic
excised breast tissue
Histopathology
2x view
A
B
A
B
A
B
DCIS
in-situ
A
histopathology
10x view
Notes: 29

## Slide 30
JBO 2013. Vol18(6)
Breast Tissue
Fluorescence
85 strips
2.5 cm
3.5 cm
Invasive cancer in fat cells
Breast duct with hollow lumen
Ductal Carcinoma In-Situ (DCIS)
Cellular morphology is important for pathology
Notes: 30

## Slide 31: Collaborators –This work takes a team! Memorial Sloan-Kettering Cancer Center
Dr. Melissa Murray – pathology
Dr. Monica Morrow - surgery
Engineering Group:
Milind Rajadhyaksha – Head of Optical Eng. Group
Ricardo Toledo-Crow – Head of Eng. Group
Sanjee Abeytunge - electronics Yongbiao Li - software Chris Glazowski - optics Gary Peterson – mechanical engineering Eileen Flores – clinical imaging This project funded by the NIH

## Slide 32
Other uses for confocal:
Confocal microscopes may enable
screening and diagnosis
guided-biopsy for pathology
pre-operative detection of cancer margins
intra-operative detection of cancer margins
surgical pathology-at-the-bedside
in vivo, ex vivo, real-time
minimize biopsy, pain, expense, time?

## Slide 33: Other optical techniques
Optical coherence tomography (OCT)
  It’s a Michelson interferometer!
  Resolution is 10-100 times better than MRI, CT, Ultrasound

## Slide 34: OCT is used for imaging the eye

## Slide 35: Blood oxygenation
Current optical techniques give erroneous results in people with darker skin
The current tech uses spectroscopy to image the blood through the skin
  Oxygenated blood absorbs more infrared than deoxygenated blood
But if the melanin in the skin also has its own spectrum that affects the ratios of wavelengths absorbed, then racial bias is encoded into the blood ox reading
Solution: use polarization contrast instead of absorption contrast

## Slide 36: Thank you!
Medical imaging is a broad field that is rapidly evolving both for research and clinical practice
It takes a team of people to accomplish

## Slide 37
Detection of skin cancer margins in Mohs excisions with high-speed strip mosaicing confocal microscopy: a feasibility study
B. Larson,1,* S. Abeytunge,2 E. Seltzer,3 M. Rajadhyaksha,1 and K. Nehal1
British Journal of Dermatology, (2013) 169: 922–926. doi: 10.1111/bjd.12444